## AHAM Range Hoods
AHAM Residential Kitchen Range Hood Certification Program Directory
New | Product Category | Product SubCategory | Brand Owner | Brand Name | Model Number | Ducting | Discharge | Speed Setting (HS, MS, LS, BS, WS) | SP in w.g. (pascal) | Rated Airflow CFM (liters/s) | Rated Sound (Sones) | Input Power (Watts) | ENERGY STAR (Yes/No)
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM3160EFES | 3 1/4" X 10" | Vertical | HS | 0.100 (25) | 250 (118) | 7.5 | 149 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM3160EFES | 3 1/4" X 10" | Vertical | WS | 0.019 (5) | 100 (47) | 1 | 90 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM3160EFES | 3 1/4" X 10" | Horizontal | HS | 0.100 (25) | 240 (113) | 7.5 | 149 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM3160EFES | 3 1/4" X 10" | Horizontal | WS | 0.020 (5) | 100 (47) | 1.5 | 90 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9179EKES | 3 1/4" X 10" | Vertical | HS | 0.100 (25) | 250 (118) | 6.5 | 183 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9179EKES | 3 1/4" X 10" | Vertical | WS | 0.031 (8) | 140 (66) | 2.5 | 114 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9179EKES | 3 1/4" X 10" | Horizontal | HS | 0.100 (25) | 240 (113) | 6 | 182 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9179EKES | 3 1/4" X 10" | Horizontal | WS | 0.032 (8) | 130 (61) | 2.5 | 114 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9005EFES | 3 1/4" X 10" | Vertical | BS | 0.100 (25) | 290 (137) | 8 | 176 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9005EFES | 3 1/4" X 10" | Vertical | WS | 0.034 (9) | 140 (66) | 2.5 | 69 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9005EFES | 3 1/4" X 10" | Horizontal | BS | 0.100 (25) | 280 (132) | 7 | 174 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9005EFES | 3 1/4" X 10" | Horizontal | WS | 0.026 (7) | 140 (66) | 2.5 | 70 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9215SKSS | 3 1/4" X 10" | Vertical | HS | 0.100 (25) | 220 (104) | 4.5 | 161 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9215SKSS | 3 1/4" X 10" | Vertical | WS | 0.029 (7) | 120 (57) | 1.5 | 110 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9215SKSS | 3 1/4" X 10" | Horizontal | HS | 0.100 (25) | 230 (109) | 6.5 | 146 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PVM9215SKSS | 3 1/4" X 10" | Horizontal | WS | 0.026 (7) | 120 (57) | 2 | 107 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM7195BLTS | 3 1/4" X 10" | Vertical | BS | 0.100 (25) | 310 (146) | 8 | 195 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM7195BLTS | 3 1/4" X 10" | Vertical | WS | 0.027 (7) | 120 (57) | 2 | 110 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM7195BLTS | 3 1/4" X 10" | Horizontal | BS | 0.100 (25) | 300 (142) | 7.5 | 194 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | JVM7195BLTS | 3 1/4" X 10" | Horizontal | WS | 0.027 (7) | 120 (57) | 2 | 107 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PSA9240SFSS | 3 1/4" X 10" | Vertical | HS | 0.100 (25) | 250 (118) | 7 | 156 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PSA9240SFSS | 3 1/4" X 10" | Vertical | WS | 0.024 (6) | 130 (61) | 2 | 84 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PSA9240SFSS | 3 1/4" X 10" | Horizontal | HS | 0.100 (25) | 250 (118) | 9 | 157 | No
| Kitchen Range Hoods | Microwave | GE Appliances | GE | PSA9240SFSS | 3 1/4" X 10" | Horizontal | WS | 0.021 (5) | 110 (52) | 2.5 | 84 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086ST | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | SIGNATURE KITCHEN SUITE | UPMC3084ST | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3089BD | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVH1711ST | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG STUDIO | LSMC3086SS | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 6" | Vertical | HS | 0.100 (25) | 190 (90) | 6.0 | 150 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 6" | Vertical | WS | 0.031 (8) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 6" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.5 | 159 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 6" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.5 | 62 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 6.5 | 148 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 10" x 3.25" | Vertical | WS | 0.037 (10) | 100 (47) | 2.5 | 61 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 220 (104) | 7.0 | 155 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87593 | 10" x 3.25" | Horizontal | WS | 0.023 (6) | 100 (47) | 2.0 | 65 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831ST | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831BD | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1762ST | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1760ST | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1831SS | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1764ST | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 6" | Vertical | HS | 0.100 (25) | 160 (76) | 5.5 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 6" | Vertical | WS | 0.046 (11) | 100 (47) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 6" | Horizontal | HS | 0.100 (25) | 200 (94) | 6.0 | 141 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 6" | Horizontal | WS | 0.041 (10) | 120 (57) | 3.0 | 81 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 170 (80) | 5.5 | 140 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 10" x 3.25" | Vertical | WS | 0.046 (11) | 110 (52) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 190 (90) | 6.5 | 139 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV1751ST | 10" x 3.25" | Horizontal | WS | 0.047 (12) | 130 (61) | 3.0 | 79 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237BD | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031BD | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031ST | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SB | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SW | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMHM2237ST | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033BM | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMVM2033ST | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMH2235ST | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87583 | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 87587 | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | LG | LMV2031SS | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83543 | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 6" | Vertical | HS | 0.100 (25) | 260 (123) | 7.0 | 202 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 6" | Vertical | WS | 0.030 (7) | 130 (61) | 2.5 | 108 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 6" | Horizontal | HS | 0.100 (25) | 300 (141) | 8.5 | 213 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 6" | Horizontal | WS | 0.022 (5) | 140 (66) | 2.5 | 107 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 10" x 3.25" | Vertical | HS | 0.100 (25) | 240 (113) | 7.0 | 199 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 10" x 3.25" | Vertical | WS | 0.032 (8) | 130 (61) | 3.0 | 106 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 10" x 3.25" | Horizontal | HS | 0.100 (25) | 300 (141) | 7.0 | 211 | No
New | Kitchen Range Hoods | Microwave | LG Electronics Inc. | KENMORE | 83547 | 10" x 3.25" | Horizontal | WS | 0.029 (7) | 130 (61) | 2.0 | 107 | No
2020-03-03